2

Smart Solutions for Food Waste: Harnessing Near-Infrared Spectroscopy in Fruits and Vegetables 
ABSTRACT
Fruits and vegetables are highly perishable, resulting in significant wastage along supply chains. Near-Infrared (NIR) Spectroscopy offers a promising as non-destructive methods for mitigating losses by providing rapid, accurate, and real-time analysis of the quality and composition of produce and products. It also enables early detection of spoilage, ripeness, and nutrient levels in food industry. This review addresses the gap between controlled validation and real-world deployment by proposing an interdisciplinary framework that integrates food science with supply chain management. The study focuses the importance of integrating NIR spectroscopy into the agricultural industry to move beyond basic quality control toward optimum storage conditions and improved distribution. By synthesizing these perspectives, this study offers a strategic guide to use NIR spectroscopy to monitor food quality, mitigate waste and strengthen food security.
Keywords: Near-Infrared, Spectroscopy, Food security, Post-harvest losses, Non-destructive methods, Shelf life extension.
INTRODUCTION
Fruits and vegetables are vital for global food security, offering essential nutrients and supporting to a balanced diet. Extensive research on non-destructive sensors has been conducted over the last few decades (Li et al., 2025). Non-destructive methods for measuring those fruit parameters as stated by Zude et al. (2006) would be beneficial to ascertain the quality of an increased number of fruits individually as well as to monitor the fruit maturity and quality on individual fruit. According to Scott (2020), Near Infra-red (NIR) spectroscopy is a powerful tool that enhances transparency in the fresh produce supply chain and reduces food waste. The technology is also instrumental in controlling quality changes along the supply chain. NIR spectroscopy has been employed for fruit quality assessment for many years (Scott, 2020). 

Nicolai et al. (2014) revealed that the agricultural applications of NIR spectroscopy began by Norris (1964), who used it to measure moisture in grain. Since then, it has been applied for rapid analysis of moisture, protein and fat content in various agricultural and food products (Prempeh et al., 2025). O’Brien and Alamar (2025) noted that the initial applications in horticulture focused on dry matter content of onions, soluble solids content (SSC) of apples and water content in mushrooms, followed by numerous other applications. As highlighted by Bureau et al. (2009), the quality of fruits and vegetables is assessed based on size, color, firmness, surface appearance and other significant sensory properties such as soluble solids and acidity. Hernández-Hierro et al. (2022) noted that in recent decades, mainly benchtop devices have been used to develop at-line methods for qualitative and quantitative control. However, the adoption of these methods have been limited by the chemical and physical heterogeneity of samples, particularly, those with high moisture content and significant seasonal and regional variations (Hernández-Hierro et al., 2022).
While there exists a substantial body of literature on the use of NIR spectroscopy as a laboratory-based means for quality assessment, its application in commercial contexts remains rather underexplored. The current study seeks to use the literature review methodology to fill this critical gap by shifting the focus from isolated quality metrics to a holistic, interdisciplinary framework that integrates food science with logistical operations. Driven by current advancements in miniaturized, high-speed sensing technology, we provide a roadmap for the transition of NIR from the laboratory to the commercial distribution center, offering a scalable solution to the urgent global challenge of food waste. The study inclusion criteria focused on peer-reviewed journal articles, conference proceedings, or book chapters especially studies validating non-destructive spectral predictions against traditional destructive methods. The timeline of reviewed studies reflected the evolution of this technique from the late 1990s when the technique was catalogued for few model crops to present day where there are current state-of-the-art portable NIR spectrometry. The purpose of this review is to discuss the applicability of NIR Spectroscopy technology as a potential way to reduce the waste of fruits and vegetables. The study shows the relevance of NIR Spectroscopy, its basic concepts, its technology advancements, and application processes of how it can reduce waste.

Basic Concepts of Near Infrared Spectroscopy
The NIR spectroscopy was originally developed for field quality control applications (Hindle, 2008). Most times, the NIR Spectroscopy is used laboratory purposes of analyzing agricultural components like the moisture, protein, fat, starch, sugar, fiber, and ash content analysis. Its spectral range is described as wavelengths between 750 nm and 2,500 nm. NIR radiation was first detected and examined by the astronomer Friedrich Wilhelm Herschel in 1800 (Hindle, 2008; Davies, 2000). 
Principles of Near Infrared Spectroscopy in Agriculture

The theoretical potential of Near-Infrared (NIR) spectroscopy in agriculture has been recognized for decades, its practical adoption has historically been hindered by bulky, expensive, and stationary equipment. Nevertheless, in the past five years, there has been a paradigm shift through the development of highly advanced inline NIR sensors that are small, hand-held, and ultra-fast. The technological development has finally brought together laboratory accuracy with robustness and high speeds, which are required by the harsh environment of the industry. It is now the time to critically assess the implementation of NIR into the mainstream industry.

This paper presents an interdisciplinary research framework, which combines insights from the food sciences, particularly those focused on physiological quality and nutritional integrity along with supply chain management. Considering the fruits and vegetables as more than mere commodities but assets in the supply chain allows for real-time information-driven decisions about dynamic routing and proper storage of the fruits and vegetables to reduce post-harvest losses. When radiation hits a sample, the incident radiation may be reflected, absorbed or transmitted, and the relative contribution of each phenomenon depends on the vibrations of the chemical constitution and physical parameters of the sample (Ren et al., 2025). The vibrations’ frequencies of the compounds decide the parts of the infrared spectrum that they can absorb, transmit, or reflect because of their unique spectral signature. From the spectral signature, it is possible to obtain data about the size, shape, and the bonding of atoms and molecules (Kas et al., 2023). Brielmann et al., (2006) noted that the information on the structure of the compounds helps to identify the makeup of compounds or plants. Depending on the interaction with light, it is also possible to determine the amount of these compounds. Therefore, infrared light is valuable in studying the different compounds and their concentrations (Johnson et al., 2023). Moreover, plants do not use the infrared spectrum in photosynthesis or any other plant function, so there is no “interference” in producing spectral signatures.

How Near-Infrared (NIR) Works
According to Pandiselvam et al. (2022), near-infrared (NIR) is the light band most suitable for detecting organic compounds because bonds between carbon and hydrogen (C-H), oxygen and hydrogen (O-H), and nitrogen and hydrogen (N-H) absorb wavelengths that fall in the NIR spectrum. Since organic compounds are the major components found in the living tissue of plants and animals, NIR is suitable for use in agriculture and can penetrate deeper into a sample than any other part of the infrared spectrum Beghi et al., (2017).

[image: image1.jpg]Wavenumber 2500 cm 4000 cm* 400 cm™* 20cm?
Wavelength 800 nm 2500 nm 25um 500 pum

Molecular vibrations

10° 107 10 1 102 10° 10¢ 108




Fig 1: Spectrum of light showing the NIR region and its wavelength.
Non-Destructive Measurements
According to study of Owino et al. (2024) on cactus pear fruits which investigated the application of non-destructive methods concluded that they are necessary for the assessment of quality parameters which includes pH, sugar content and firmness etc. The study supports the findings of Alhamdan et al. (2019) stating that one of the requirements for quality control is that measurements have to be non-destructive to save fruit and vegetable loss. The conventional methods, such as an oven or micro-oven method of estimation for dry matter or refractometer for sweetness, are not only destructive, but they are also time-consuming and require training to perform the chemical analyses (Phindile et al., 2022). It also requires sample preparation and space to conduct the tests. According to Scott (2020) NIR spectroscopy has been miniaturized and is now available in small, portable tools that are user-friendly and simple enough to be used by anyone. The results are available instantly and are precise, without variation, due to differences in laboratory conditions.
NIR Spectroscopy Scanner Measurements

 According to Gullifa et al. (2023), the author explained that NIR spectroscopy is usually incorporated in many hand-held tools and benchtop devices to provide a wide range of applications, which are increasing with time. The scanner-based tool directs a ray of NIR light of a specified spectrum towards the object. The spectral resulting absorbed, reflected, and transmitted spectra will vary depending on the compounds and their concentrations (Johnson et al., 2023). The scanners in the tools record these spectra. In the case of spectrometers as noted by Li et al. (2023), the spectral signature is used in a wide range of pre-programmed vegetation indices. Most indices use reflectance data, but some will also use absorbance data. 

[image: image2.png]Power supply

Computer

Focusing lens





Fig 2: A set-up of NIRS technology (Non-destructive) (Felix Applied Food Science Instruments, 2026)
Some NIR spectroscopy devices in the market.

The F-750 Produce Quality Meter
Felix Applied Food Science Instruments’ NIR quality meters (e.g., the F-750 Produce Quality Meter and the F-751 series) are designed to estimate internal fruit quality attributes non-destructively using near-infrared (NIR) spectroscopy. In this application domain, NIR sensing provides a rapid and contact-based optical measurement of reflected or scattered radiation from the fruit surface, which is then transformed into quantitative predictions through chemometric calibration models (Xu, et al., 2024). Because the measured NIR spectra contain information related to water and solute composition (and thus to physiological state), the devices are able to infer maturity- and quality-linked parameters that traditionally require destructive laboratory assays (Pan et al., 2015).

In the general-purpose case of the F-750 Produce Quality Meter, the instrument is positioned as a multi-crop platform for fruits and vegetables, enabling the estimation of dry matter, soluble solids content (SSC), titratable acidity, and color (Goisser et al., 2021). Operationally, the meter is typically used by positioning the optical measurement window against the fruit surface under a standardized geometry, thereby minimizing measurement variability driven by differences in skin thickness, surface roughness, and optical scattering properties (Goisser et al., 2021). Once the spectrum is acquired, the device applies an onboard regression framework is built from calibration datasets that relate spectral features to reference laboratory measurements which generate predicted values (Donis-González, et al., 2020; Goisser et al., 2021) . In reality, however, these variables are used as indicators of the maturity and flavor of the fruits: dry matter and soluble solid content are related to changes in the water content and sugar accumulation; titratable acidity relates to the conversion and break down of the organic acid; and color is added for a further optical property that may relate to the maturity of the fruit (Lado et al., 2014). The technique allows for rapid screening of the fruits when harvested or handled in packaging houses, where they can be sorted to minimize variation in sensory quality (Lado et al., 2014; Shewfelt, 2014.).
The F-751 Avocado Quality Meter 
The F-751 Avocado Quality Meter takes the same approach to sensing, but applies it with the addition of specific calibration strategies, according to the Haas avocado application (Becerra-Sanchez et al.,2024; El Kayal et al., 2025). Although dry matter remains the key interpretive parameter, the device is also able to measure Brix, with this information being provided as input into maturity evaluation based on oil content maturation level (Fortes et al., 2011;Jaywant et al., 2022;).. Avocados experience dramatic changes in their metabolically driven composition changes during the process of ripening; this entails both compositional changes related to the amount of moisture and soluble compounds present (Fortes et al., 2011; Becerra-Sanchez et al., 2024; El Kayal et al., 2025). As such, different stages of ripening will exhibit specific spectral characteristics in the near-infrared region; for this reason, operation of the quality meter involves a similar non-destructive process to the F-750 meter, but the resulting model will be adjusted to account for the spectral and composition characteristics of the Haas avocados (Núñez-Lillo et al., 2024).. Specifically, the process is one where spectral measures are converted to measures of composition related to maturity, which can then be utilized to determine when harvesting should occur to ensure appropriate ripening processes and uniformity in terms of texture and taste properties (Niu et al., 2014)..

The F-751-Mango Quality Meter
The F-751-Mango Quality Meter is another example highlighting the necessity for cultivar or variety-specific approaches by offering a specialized measurement platform, which calculates estimates of dry matter content, Brix or sweetness, and acidity (Praiphui et al.,. 2023). The case of mango exemplifies the way in which cultivar specificity does not only manifest itself in the physical features of the produce but also in internal biochemical pathways, thus rendering any generalized calibration strategy inadequate for obtaining the necessary level of accuracy for quality classification purposes (Téllez-García et al., 2025). On a practical note, when using the Mango Quality Meter one needs to select the appropriate variety model, whether it will be Ataulfo, Tommy K, Kent, Keitt, Calypso, or Honey Gold for performing the chemometric conversion from absorbance spectra to estimates of dry matter content, soluble solids, and acidity (Praiphui et al.,. 2023).. Upon completion of measurements according to the specified geometry, the instrument returns estimates of dry matter, soluble solids (expressed either in Brix units or equivalent soluble solids), and acidity (Praiphui et al., 2023; García et al., 2025). Together, these measurements constitute a multi-dimensional parameter set used to characterize fruit quality: its potential sweetness is estimated through soluble solids, balance of flavors can be assessed for acidity, while dry matter is utilized as a criterion for fruit maturity, allowing subsequent sorting and storage (Kader et al., 1996; Prasad, 2018). 
The F-751 Kiwi Quality Meter 
The F-751 Kiwi Quality Meter uses a similar NIR-based prediction method for kiwis, aiming at determining maturity and ripeness factors throughout the “whole supply chain (Titeli et al., 2023). Despite being a multifaceted attribute, ripeness in practice often comes down to compositional criteria, physiological readiness for consumption, and other such characteristics, which are what this instrument is designed to predict using spectral information on the basis of internal biochemistry changes that occur while a fruit is ripening (Titeli et al., 2023: Becerra-Sanchez et al.,2024). Methodologically, it is important to maintain uniformity in measurements, because, among other reasons, near infrared reflectance is sensitive to moisture content, skin conditions, and the thermal state of a fruit, all of which are subject to variation between different measurement scenarios (Becerra-Sanchez et al.,2024). With respect to supply chain operations, ensuring this consistency will allow for consistent results and comparison of predictive outputs across different nodes of the supply chain. The key advantage of using this method over other maturity testing procedures (frequently involving firmness testing and visual inspection or destructive sampling), is that it provides an easy, nondestructive way of predicting ripening progress and synchronizing harvest times (Li,et al., 2018).

For each of the models discussed above, the operation of such device is based on a close loop involving three major components: (i) fast spectral analysis of a product using NIR, (ii) conversion of measured spectra to parameters using chemometric models built on reference data, and (iii) interpretation of the results as far as grading criteria and harvest time are concerned. While the nature of outputs differs among different types of fruits, e.g. estimation of such generic parameters as SSC and acidity in case of the F-750 instrument, evaluation of oil maturity in Haas avocados on the F-751, and calibration for multiple varieties of mango, the main idea behind their operation is the same NIR spectra which allows for capturing changes in internal composition associated with maturity and quality of the produce.
The use of NIR spectroscopy in Food Supply Chain

Saechua et al. (2023) stated that NIR spectroscopy is a well-established method to measure quality and maturity indicators, such as dry matter content and total soluble solids. The dry matter at harvest is a good predictor of ripe fruit post-harvest. But there is much more that happens before and after harvest that can also affect fresh produce quality. After harvesting fresh produce, they have to be washed, sorted, packed, distributed, and prepared before finally being available for sale as products in the retail stores (Paul et al., 2024). The fruits and vegetables are living things whose qualities keep changing during the process. So, NIR spectroscopy is useful as a quality control measure in all of these phases. An example from Alhamdan and Atia (2017) study showed the ripeness of Barhi dates is evaluated by BRIX, crunchiness, hardness, and development of yellow color. Elamshity and Alhamdan (2025) confirm the use of NIR techniques for identifying the ripening stages in dates using SSC and moisture content. The relation of color with the five stages was less dependable. It is possible to sort the dates using these characteristics (Alhamdan and Atia, 2017).The technology is not used evenly across all categories of fresh produce. Research by Vallone et al. (2019) showed that the extent to which the spectrometers can be used depends on the species and the parameter that is being measured.
[image: image3.jpg]5 P
Hue predicted data

95%Cl  — Fited vales

2 a0
Firmness predicted data




Fig 3: NIR spectroscopy can predict the color far more accurately than firmness in the case of table olives (Source: Vallone et al., 2019). 
Significance in Fruit Ripening

To reduce wastage, the soluble sugar content (SSC), titratable acidity, internal color, and firmness are the parameters of interest in gauging ripeness in fruits.

Soluble sugar content (SSC): Of all these parameters, SSC is the one that is the industry standard. Besides reflecting fruit physiology, SSC content has proven to be a good indicator of consumer preference (Zude et al., 2006). So, NIR is used in assessing fruit ripeness in apple, pear, plum, tomatoes, citrus fruit, kiwi, melon, cherry, etc.

Titratable acidity: Sweetness is only one of the essential criteria to judge taste and consumer preference. Often a balance between sugars and acids is preferred for the best flavor. Hence, the titratable acidity of many fruits is measured to calculate the sugar to acidity ratio (Peirs et al., 2002). NIR can successfully measure acidity in apple, oranges, tomatoes, peaches, nectarines, and pineapples.

Firmness: NIR can detect the ideal firmness of ripe fruits in the case of mangoes, tomatoes, and apples (Zude et al., 2006). However, it is less effective in the case of table olives.
Color: Internal and external color development is essential to monitor. Here, NIR is suitable for table olives, apples, mango, and tomatoes (Zude et al., 2006).

Nutrient Content of Fresh Produce: Many of the fresh produce are gaining importance as nutraceuticals due to the high levels of nutritious phytochemicals that they contain. These could be antioxidants, vitamins, polyphenols, pigments like carotenoids, etc. Many fresh produces are tested with NIR spectroscopy to check the concentration of these nutrients (Nadimi and Paliwal, 2024). Produce commonly examined for this reason include blueberries, raspberries, strawberries, banana, carrots, oranges, potatoes, eggplants, olives, etc.

Ripeness parameters are checked several times in the supply chain to sort fruits at different stages. Study by Alvin et al. (2026) confirms that NIR-based tools are useful to sort fresh produce according to their ripeness indicators. For example, when tomatoes are mixed and not sorted, there is a 10% loss of harvest. Ripe or decaying tomatoes produce ethylene, which can prematurely ripen green vegetables in the same pack, spoiling more crop yields. Sorting is carried out again during storage and retailing to remove spoiled produce and reducing losses. Sorting allows for early sales of ripe fruits and later sales of unripe products (Gidado et al., 2026).
Applications of Near Infrared Spectroscopy in Fruits and Vegetables
Applications of NIRS scanner measurements and imaging at various stages in agriculture supply chain as listed by Cattaneo and Stellari (2019) are;
Measurement of Nutritional Status of Crops

NIR scanners are adept at measuring various aspects of plant physiology that reflect the nutritional status of crops. NIR tools provide information on the concentrations, deficiency or excess, of the major nutrients such as nitrogen, phosphorus, and potassium, by detecting chemical composition in leaves (Zahir et al., 2024). NIR testing can replace cumbersome, long, and complicated analysis in the laboratory. An example from Pérez-Marín, (2019) stated that it is often used instead of the comparatively cumbersome Kjeldahl Method to quantify nitrogen in plants. Farmers and agronomists can detect nitrogen deficiency in plants using NIR spectroscopy photosynthesis analysis.

Similarly, NIR technology can detect iron, magnesium, and zinc in leaves of cereal and other crops. According to the study by Bao et al., (2024), the nutritional content of leaves has been determined successfully for apple, citrus, alfalfa, sugarcane, and root crops. If the analysis shows lack of any element, a farmer can provide proper nutritional supplementation in the amounts required. Also according to Rawal et al. (2024), it can aid farmers to prevent excess use of fertilizers, reducing waste and environmental impact.

Determining Harvest Time

Digman et al. (2024) demonstrated that one of the most widespread uses of NIR scanner-based devices is measuring dry matter to fix optimum harvest time and monitor the quality of grains, pulses, fruits, and vegetables.
Dry matter (DM) is the total of all solids in a plant minus its water content. DM has been established as one of the most critical parameters in crop production. As emphasized by Islam et al. (2024), non-destructive measurements are necessary since agricultural products are tested several times to determine if they are ready for harvest. Small, cost-effective devices, which give rapid, easy-to-understand results, can sample even large crop areas within a day.
NIR for Fruit Processing

Spectroscopic measurements have a wide range of uses during food processing. The use of NIR tools begins on the farm (Bec et al., 2025). Farmers growing fruits meant for processing to make juices, wines, and other liquids, place a premium on sugar content. Fruits have to be harvested at the correct time to achieve the right sugar content. Maturity and ripening are followed meticulously in the field to fix the optimum harvest time (Salehin et al., 2025). The DM content is used to select the harvest date among climacteric fruits, such as apple or mango. In non-climacteric fruits, like berries and grapes that do not ripen much after harvest, the SSC of crops is monitored to fix harvest time. In the case of blackberries, both sugar content and acidity are checked (Gong et al., 2025; Sriti et al., 2025).
There are various NIR applications for sorting and processing fruits and vegetables:

First, the applications of NIR spectroscopy and NIR Imaging for sorting fruits and vegetables include determining a variety of internal and surface-related parameters, such as maturity/ripeness, soluble solids (which are related to sweetness), firmness, bruising/other internal defects, or differences in skin/flesh composition (Walsh et al., 2004; Chandrasekaran et al., 2019). The application of NIR will depend on whether one wants a "spot-check" system (for single-point measurements) or a high-speed imaging method.

For ripeness/quality sorting, the NIR technique can be used to determine the biochemical or physical parameters that vary with ripeness, such as sugar content, water status, or tissue structure (Goh et al., 2025). This will allow the producer to sort out products according to their ripeness, without having to rely only on color-based criteria. For certain produce types, NIR-based sorting will contribute to achieving a more uniform flavor/texture. Finally, it is possible to use NIR for detecting the heterogeneity in a batch and thereby avoid a mixture of under-ripe and over-ripe items (Goh et al., 2025).

For determining firmness/mechanical damage, it is possible to use NIR in order to reveal internal defects that cannot be detected by eye, such as early bruising, softness of tissues, or local damage due to handling or storage (Patel & Pathare, 2024). Because damage affects the optical properties related to light absorption and scattering, NIR sensors can detect those products which seem acceptable from the outside but will most probably fail to withstand the tests at subsequent stages of their shelf-life (Pérez-Marín et al., 2019).

The NIR methods used in safety and quality assessment are incorporated into quality control measures designed to identify proxy indicators of contamination or unusual patterns in compositional change suggesting spoilage progression (Feng et al., 2025). Even though the NIR technology does not represent itself a "microbe detector" comparable to conventional microbial culturing methods, it allows to distinguish spectral fingerprints of deteriorated state, dehydration, or chemical changes in order to avoid potential risks of selling compromised produce (Feng et al., 2025).

In case of food processing, the main application of NIR sensors consists in process monitoring and adjustment. The technique allows checking whether the composition or maturity of raw materials meet the predetermined standards prior to further processing (e.g., confirming a sufficient degree of maturity in the case of fresh-cut vegetables). Moreover, during processes such as juice extraction, drying, or blanching/pre-heating preparations, the setpoint values can be optimized in accordance with current variations in composition and water content.

With regard to retail and warehousing inspection, NIR technology can help decrease manpower needs as well as the turnaround time by quickly allowing objective categorization of produce (Grassi & Alamprese, 2018). This is useful in tracking the produce and making decisions based on the spectral results associated with criteria like shelf-life extension, acceptance by consumers, or even processing performance.

NIR for Detecting Diseases, Pests, and Toxins

Wang et al. (2025) indicated that NIR spectroscopy can be used to detect diseases before visual symptoms appear in growing crops as well as in stored grains. Stress produced due to pests, diseases, and weeds will change plant composition and can also be detected by NIR spectroscopy. Remotely sensed images use this principle in precision agriculture to grade fields based on infection intensity and extent so that growers can make data-driven treatment decisions (Zhu et al., 2024).

Maina and Oerke (2024) demonstrates that hyperspectral reflectance has successfully detected blast fungus using NIR field tools and thus provide a timely and efficient means of controlling infection to limit the damage. During post-harvest storage, rice is particularly susceptible to fungal infections. The research of Ong et al., (2022) showed that NIR technology has been used to find and quantify fungal infections of Aspergillus producing aflatoxins in rice grain. The fungal infection is identified by detecting the presence of aflatoxin B1 using wavelengths of 950 and 1650 nm.

Reports of Jiang and Wetzel (2025) reveal that NIR technology can also detect insect infestation and cereals’ damage post-harvest by internal compound examination to detect the development of toxins in seeds. For example, the study by Nudel et al. (2024) quantifies amino acid L-canavanine as a toxic compound that can develop in grains and reduce food intake in non-ruminants. The CI-710s SpectraVue Leaf Spectrometer from CID-Science is used to detect plant stress.

NIR for Monitoring Drought

Water has its own unique spectral signature that NIR can detect. Ji et al. (2025) developed models in woody plants for measuring leaf water content which lets farmers and agronomists know if the plants are suffering from water stress. They can then use this information to regulate irrigation schedules. The CI-710s SpectraVue Leaf Spectrometer from CID-Science is also an example of a leaf probe widely used for detecting water stress in plants and soil (CID Bio-Science, 2026). 

NIR for Quality Control

NIR scanners for sorting, grading, and monitoring the quality of fresh produce and processed products during storage, transport, and retail are a significant application of this technology. Appearance, color, and texture are essential to ensure consumer satisfaction (Feng et al., 2024). Also, NIR testing of DM and SSC levels at harvest allows growers to produce fruits that meet consumer tastes. Elsherbiny et al. (2025) described the early detection of over-ripe produce with NIR imaging, before the appearance of visual symptoms, to help in culling spoiled products in preventing ethylene from spreading and causing early ripening of other nearby produce. Also, ready commercial NIR cameras for spot measurements can be used to inspect the quality of fruits at purchase. The NIR images clearly show bruises long before they are visible to human eyes (Shanthini et al., 2025).Scientists are trying to establish NIR hyperspectral imaging for quality control of walnuts by checking for total fat, monosaturated, saturated, and polyunsaturated fatty acids (Zhao et al, 2025). Similarly, Biswas and Chaudhari (2024) emphasized the role of NIR scanners in quality control of wide-ranging products such as honey and edible oils to ensure good purchases and advise buying choices. By detecting the hydrophilic phenols produced only by olives, NIR testing determines the authenticity of olive oil and checks that it is not adulterated (Li et al., 2025). The F-750 Produce Quality Meter from Felix Instruments (2026) can measure the internal color and firmness of fruits and internal decay in fruits and vegetables.
Alternative Techniques Compared to NIR spectroscopy 

Other techniques that are frequently compared to NIR spectroscopy include FTIR (mid-infrared) spectroscopy, usually giving better and more distinctive features related to chemical absorption; Raman spectroscopy, which can also be utilized for chemical analysis, including certain types of matter or molecular bonds; UV-Vis spectroscopy, which is appropriate in cases where UV/vis absorption is available in connection with certain colors or molecular structures; and far IR spectroscopy or THz spectroscopy in specialized instances (Blanco & Villarroya, 2002). Besides optical techniques, non-spectroscopic, "wet" laboratory reference techniques, such as HPLC, GC, LC-MS, or GC-MS, are typically employed when separation or identification with very high specificity and sensitivity is required (Kumirska, et al., 2010). As for quantitative properties of matter, such as moisture content, standard measurement techniques are frequently considered as those using Karl Fischer titration, gravimetry, or thermal methods such as TGA and DSC. Finally, in special cases when the target analyte needs to be identified fast, electrochemical and biosensor approaches can be applied (Matejtschuk et al., 2016).

ADVANTAGE OF NIR SPECTROSCOPY OVER OTHER METHODS

The greatest strength of NIR spectroscopy is its ability to be compared with numerous analytical methodologies since it provides quick, reliable results while disrupting the sample to a minimum degree possible (Karoui et al., 2010; Beć et al., 2021). Unlike wet chemistry techniques that involve working with reagents, lengthy preparation procedures, and significant turnaround times, the NIR analysis technique does not usually require sample preparation or takes just seconds (Murray & Cowe, 2004; Manley, 2014). As a result, it is much more effective for use in quality control processes and high throughput analysis (Murray & Cowe, 2004; Manley, 2014). Unlike GC/LC techniques, it involves no solvents and processing procedures that take time and resources (Blanco et al., 1998; Agelet & Hurburgh 2010; Manley, 2014; Beć et al., 2022). Moreover, NIR analysis allows for non-destructive analysis, meaning the same sample may be reused several times, while most chemical procedures in the lab involve consuming the sample (Gullifa et al., 2016). The technique is also well suited for predictions related to bulk properties and characteristics associated with sample composition (Manley, 2014)). Finally, combined with reliable multivariate calibration, the data obtained with NIR spectroscopy is capable of containing a vast array of information that is very hard to acquire through single-parameter analysis (Jha, 2010).

Limitations of NIR Spectroscopy

The limitations associated with NIR spectroscopy include the requirements for calibration models that can help correlate the spectra with the property of interest (Agelet & Hurburgh, 2010). The NIR Spectroscopy method has broader absorption characteristics as compared to its mid-infrared counterpart, meaning that it is less specific and thus cannot differentiate between various compounds, making analysis harder at times (Blanco et al., 1998; Agelet & Hurburgh 2010; Manley, 2014). The measurements obtained from NIR spectroscopy are highly sensitive to factors such as particle size and distribution, surface finish, temperature, and presentation of samples (Blanco et al., 1998; Agelet & Hurburgh 2010; Manley, 2014; Beć et al., 2022). Thus, improper sample preparation can significantly affect the reliability of the results obtained using NIR. Furthermore, the presence of water in the near-infrared region of some samples makes it harder to measure the concentration of other components unless this limitation is accounted for (Büning-Pfaue, 2003; Manley, 2014). It should be noted that near-infrared absorption is not effective in certain substances due to low penetration (Aenugu et al., 2011).
CONCLUSION
Near-Infrared Spectroscopy (NIRS) is one promising technique that could help prevent the wastage of fruits and vegetables throughout the whole supply chain process. With its capacity to give quick, non-destructive, and accurate assessments of the attributes of produce, NIRS will contribute towards proactive decision making, process optimization, and even value addition. Through the use of near-infrared spectroscopy technology, farmers or other stakeholders would be able to take steps towards achieving food loss prevention and food security for themselves and succeeding generations. Moving forward, the potential benefits offered by near-infrared spectroscopy could be greatly enhanced through future prospects like AI calibration and prediction, IoT-based monitoring for NIRS assessments of products in transit, and real-time smart agriculture techniques for faster decision making from the farm to the consumer.

By using NIRS as a means to improve the efficiency of the food chain while at the same time minimizing wastage, we will not only improve the current state of the world's food system but also secure its future.
Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript. 

REFERENCES
1. Aenugu, H. P. R., Kumar, D. S., Srisudharson, N. P., Ghosh, S., & Banji, D. (2011). Near infra red spectroscopy—An overview. International Journal of ChemTech Research, 3(2), 825-836.

2. Agelet, L. E., & Hurburgh Jr, C. R. (2010). A tutorial on near infrared spectroscopy and its calibration. Critical Reviews in Analytical Chemistry, 40(4), 246-260.

3. Alhamdan, A. M., & Atia, A. (2017). Non-destructive method to predict Barhi dates quality at different stages of maturity utilising near-infrared (NIR) spectroscopy. International Journal of Food Properties, 20(sup3). doi: 10.1080/10942912.2017.1387794

4. Alhamdan, A. M., Fickak, A., &Atia, A. R. (2019). Evaluation of sensory and texture profile analysis properties of stored Khalal Barhi dates nondestructively using Vis/NIR spectroscopy. Journal of Food Process Engineering, 42(6). doi: 10.1111/jfpe.13215 

5. Alvin, F. P., Wahyunato, A. N., Rifqi, F., Setiyaki, A. N., Harki, H., Aryo, P., Kiki, G., Dwi, S. & Dimas, F. A. R. (2026). Tomato ripeness prediction using low resolution portable spectrometer and machine learning, Spectrochimica Acta Part A: Molecular and Biomolecular Spectroscopy, 344, 126739, 1386-1425, https://doi.org/10.1016/j.saa.2025.126739
6. Bao, J., Yu, M., Li, J. & Wang, G. (2024). Determination of leaf nitrogen content in apple and jujube by near-infrared spectroscopy. Scientific Reports, 14, 20884. https://doi.org/10.1038/s41598-024-71590-1
7. Beć, K. B., Grabska, J., & Huck, C. W. (2021). NIR spectroscopy of natural medicines supported by novel instrumentation and methods for data analysis and interpretation. Journal of Pharmaceutical and Biomedical Analysis, 193, 113686.

8. Beć, K. B., Grabska, J., & Huck, C. W. (2022). Miniaturized NIR spectroscopy in food analysis and quality control: Promises, challenges, and perspectives. Foods, 11(10), 1465.

9. Bec, K. B., Grabska, J., & Huck, C. W. (2025). Handheld NIR spectroscopy for real-time on-site food quality and safety monitoring. Advances in food and nutrition research, 115, 293-389. https://doi.org/10.1016/bs.afnr.2025.01.002
10. Becerra-Sanchez, F. J., Pérez-Espinosa, H., & Meza-Aguilar, M. A. (2024). Development of non-destructive system for estimating avocado quality parameters. Postharvest Biology and Technology, 212, 112886.

11. Beghi, R., Buratti, S., Giovenzana, V., Benedetti, S. & Guidetti, R. (2017). Electronic nose and visible-near infrared spectroscopy in fruit and vegetable monitoring.  Reviews in Analytical Chemistry, 36(4), 0160016. https://doi.org/10.1515/revac-2016-0016 

12. Biswas, A., & Chaudhari, S. R. (2024). Exploring the role of NIR spectroscopy in quantifying and verifying honey authenticity: A review. Food Chemistry, 445, 138712. https://doi.org/10.1016/j.foodchem.2024.138712
13. Blanco, M., & Villarroya, I. N. I. R. (2002). NIR spectroscopy: a rapid-response analytical tool. TrAC Trends in Analytical Chemistry, 21(4), 240-250.

14. Blanco, M., Coello, J., Iturriaga, H., Maspoch, S., & De La Pezuela, C. (1998). Near-infrared spectroscopy in the pharmaceutical industry. Critical review. Analyst, 123(8), 135R-150R.

15. Brielmann, H. L., Setzer, W. N., Kaufman, P. B., Kirakosyan, A., & Cseke, L. J. (2006). Phytochemicals: The chemical components of plants. Natural products from plants, 2, 1-49.

16. Büning-Pfaue, H. (2003). Analysis of water in food by near infrared spectroscopy. Food Chemistry, 82(1), 107-115.

17. Bureau, S., Ruiz, D., Reich, M., Gouble, B., Bertrand, D., Audergon, J.-M., and Renard, C.M.G.C. (2009) Rapid and non-destructive analysis of apricot fruit quality using FTnear-infrared spectroscopy, Food Chemistry, 113, 1323

18. Cattaneo, T.M.P., & Stellari, A. (2019). Review: NIR Spectroscopy as a Suitable Tool for the Investigation of the Horticultural Field. Agronomy, 9, 503. https://doi.org/10.3390/agronomy9090503
19. Chandrasekaran, I., Panigrahi, S. S., Ravikanth, L., & Singh, C. B. (2019). Potential of near-infrared (NIR) spectroscopy and hyperspectral imaging for quality and safety assessment of fruits: An overview. Food Analytical Methods, 12(11), 2438-2458.

20. CID Bio-Science. (2026). Spectral leaf measurements for nutrient deficiency detection using the CI-710s SpectraVue Leaf Spectrometer. https://pro-lite.co.uk/products-services-index/spectroscopy/plant-science-tools/cid-plant-science-tools/spectravue-leaf-spectrometer/
21. Davies, A.M.C. (2000). William Herschel and the discovery of near infrared. Spectrosc. Eur. 12, 10–16.

22. Digman, M. F., Cherney, J. & Cherney, D. J. R. (2024). Harvest timing of standing corn using near-infrared reflectance spectroscopy. Sensors, 24(5), 1397. https://doi.org/10.3390/s24051397
23. Donis-González, I. R., Valero, C., Momin, M. A., Kaur, A., & Slaughter, D. C. (2020). Performance evaluation of two commercially available portable spectrometers to non-invasively determine table grape and peach quality attributes. Agronomy, 10(1), 148.

24. El Kayal, W., Salameh, M., & Nacouzi, D. (2025). Hormonal Regulation of Avocado (Persea americana) Across Altitudinal Gradients. Plant‐Environment Interactions, 6(5), e70083.

25. Elamshity, M. G. &Alhamdan, A. M. (2025). Development and prediction of a non-destructive quality index (Qi) for stored date fruits using VIS-NIR spectroscopy and artificial neural networks. Foods, 14(17), 3060. https://doi.org/10.3390/foods14173060
26. Elsherbiny, O., El-Hendawy, S., Elsayed, S., et al. (2025). Incorporation of visible/near-infrared spectroscopy and machine learning models for indirect assessment of grape ripening indicators. Scientific Reports, 15, 12345. https://doi.org/10.1038/s41598-024-81694-3
27. Felix Instruments – Applied Food Science. (2026). F-750 Produce Quality Meter: Non-destructive measurement of internal fruit quality parameters.

28. Feng, J. T., Yang, Q. Y., Tian, H., Wang, Z. P., Tian, S. J., & Xu, H. R. (2024). Promising real-time fruit and vegetable quality detection technologies applicable to manipulator picking process. International Journal of Agricultural and Biological Engineering, 17(2), 14–26. 10.25165/j.ijabe.20241702.7678

29. Flinn, P. (2005). An average day (or how near infrared spectroscopy affect daily life). NIRS News 323;16:4-8. 324 

30. Fortes, G. A., Naves, S. S., Godoi, F. F., Duarte, A. R., Ferri, P. H., & Santos, S. D. C. (2011). Assessment of a maturity index in jabuticaba fruit by the evaluation of phenolic compounds, essential oil components, sugar content and total acidity. American Journal of Food Technology, 6(11), 974-984.
31. Gidado, M. J., Gunny, A. A. N., Gopinath, S, C. B., Devi, M. & Ibrahim, A. M. (2026). Artificial intelligence and machine learning in postharvest fruit quality assessment: Current challenges, recent advances and future prospects. Journal of Stored Products Research. 116, 102959, https://doi.org/10.1016/j.jspr.2026.102959
32. Gong, Z., Zhi, Z., Zhang, C., & Cao, D. (2025). Non-destructive detection of soluble solids content in fruits: A review. Chemistry, 7(4), 115. https://doi.org/10.3390/chemistry7040115
33. Grassi, S., & Alamprese, C. (2018). Advances in NIR spectroscopy applied to process analytical technology in food industries. Current Opinion in Food Science, 22, 17-21.

34. Gullifa, G., Barone, L., Papa, E., Giuffrida, A., Materazzi, S., &Risoluti, R. (2023). Portable NIR spectroscopy: the route to green analytical chemistry. Frontiers in Chemistry, 11, 1214825.

35. Gunasekaran, S. & Irudayaraj, J. (2001). Optical methods: visible NIR and FTIR spectroscopy. In: Nondestructive Food Evaluation. Techniques to Analyse Properties and Quality. Marcel Dekker Inc., New York, USA.

36. Hernández-Hierro, J.M., Cozzolino, D., Feng, C.H., Rato, A.E. &Nogales-Bueno, J. (2022). Editorial: Recent Advances of Near Infrared Applications in Fruits and Byproducts. Front. Plant Sci. 13:858040. doi: 10.3389/fpls.2022.858040

37. Hindle, P.H. (2008). Historical development. In D.A. Burns, E.W. Ciurczak (Eds.), Handbook of near-infrared analysis, New York: CRC Press, pp. 3-6.

38. Islam, M., Bijjahalli, S., Fahey, T. et al. (2024). Destructive and non-destructive measurement approaches and the application of AI models in precision agriculture: a review. Precision Agriculture 25,1127-1180. https://doi.org/10.1007/s11119-024-10112-5
39. Jha, S. N. (2010). Near infrared spectroscopy. In Nondestructive evaluation of food quality: theory and practice (pp. 141-212). Berlin, Heidelberg: Springer Berlin Heidelberg.

40. Ji, J., Lu, X., Ma, H., Jin, X., Jiang, S., Cui, H., Lu, X., & Yang, Y. (2025). Estimation of plant leaf water content based on spectroscopy. Frontiers in Plant Science, 16, 1609650. https://doi.org/10.3389/fpls.2025.1609650
41. Jiang, H., & Wetzel, W. (2025). New AI strategy for mycotoxin detection in cereal grains using near‑infrared spectroscopy. Spectroscopy Online (Food Chemistry).

42. Johnson, J. B., Walsh, K. B., Naiker, M., & Ameer, K. (2023). The use of infrared spectroscopy for the quantification of bioactive compounds in food: A review. Molecules, 28(7), 3215.

43. Karoui, R., Downey, G., & Blecker, C. (2010). Mid-infrared spectroscopy coupled with chemometrics: a tool for the analysis of intact food systems and the exploration of their molecular structure− quality relationships− a review. Chemical reviews, 110(10), 6144-6168.

44. Kas, J. H., Gial, B., Udo, F. H. E., Vasuk, G., David, S. W., Ron, A. W., Jonathan, M. & Jos, O. (2023). An In Silico Infrared Spectral Library of Molecular Ions for Metabolite Identification. Anal. Chem. 95,8998-9005.

45. Lado, J., Rodrigo, M. J., & Zacarías, L. (2014). Maturity indicators and citrus fruit quality. Stewart Postharvest Review, 10(2), 1-6.
46. Li, B., Lecourt, J., & Bishop, G. (2018). Advances in non-destructive early assessment of fruit ripeness towards defining optimal time of harvest and yield prediction—A review. Plants, 7(1), 3

47. Li, C., Czyz, E. A., Halitschke, R., Baldwin, I. T., Schaepman, M. E., & Schuman, M. C. (2023). Evaluating potential of leaf reflectance spectra to monitor plant genetic variation. Plant Methods, 19, 108. https://doi.org/10.1186/s13007-023-01089-9
48. Li, L., Jia, X., & Fan, K. (2025). Recent advance in nondestructive imaging technology for detecting quality of fruits and vegetables: a review. Critical reviews in food science and nutrition, 65(26), 5181-5199. https://doi.org/10.1080/10408398.2024.2404639
49. Li, X., Muñoz-Díez, C., Miho, H., Zhang, L., Li, P., Priego, F., ... & Pérez-Marín, D. (2025). Evaluation of phenolics in the analysis of virgin olive oil using near infrared spectroscopy. Spectrochimica Acta Part A: Molecular and Biomolecular Spectroscopy, 326, 125262. 

50. Maina, A. W., &Oerke, E.-C. (2024). Hyperspectral imaging for quantifying Magnaportheoryzae sporulation on rice genotypes. Plant Methods, 20, 87. https://doi.org/10.1186/s13007-024-01215-1
51. Malley, D.&Williams, P. (2005). The future of near infrared spectroscopy: application for the 327 environments. NIRS news; 16:20-2. 328 

52. Manley, M. (2014). Near-infrared spectroscopy and hyperspectral imaging: non-destructive analysis of biological materials. Chemical Society Reviews, 43(24), 8200-8214.

53. Matejtschuk, P., Duru, C., Malik, K., Ezeajughi, E., Gray, E., Raut, S., & Mawas, F. (2016). Use of thermogravimetric analysis for moisture determination in difficult lyophilized biological samples. Am. J. Anal. Chem, 7(03), 260-265.

54. Mehinagic, E., Royer, G., Symoneaux, R., Bertrand, D. & Jourjon, F. (2004). Prediction of the sensory quality of apples by physical measurements. Postharvest Biol. Technol. 34, 257–269.

55. Miyamoto, K., Kawauchi, M., Fukuda, T., (1997). Classification of high acid fruits by PLS using the near infrared transmittance (NIT) spectra of intact Satsuma mandarins. Journal of Near Infrared Spectroscopy 6 (1-4), 267/271.

56. Murray, I., & Cowe, I. (2004). Sample preparation. Near‐infrared spectroscopy in agriculture, 44, 75-112.

57. Nadimi, M. & Paliwal, J. (2024). Recent applications of Near-Infrared spectroscopy in food quality analysis. Foods, 13(16), 2633, https://doi.org/10.3390/foods13162633
58. Nicolai, B., Defraeye, T., De Ketelaere, B., Herremans, E., Hertog, M., Saeys, W., Torricelli, A., Vandendriessche, T. &Verboven, P. (2014). Nondestructive Measurement of Fruits and Vegetables Quality. Annual review of food science and technology. 5.10.1146/annurev-food-030713-092410

59. Norris, K.H. (1964). Design and development of a new moisture meter. Agric. Eng. 45, 370.

60. Nudel, A., Abbo, S., & Kerem, Z. (2024). Canavanine content quantification in processed bitter vetch (Vicia ervilia) seeds and its nutritional implications. Foods, 13(16), 2528. https://doi.org/10.3390/foods13162528
61. O’Brien, C., & Alamar, M. C. (2025). An Overview of non-destructive technologies for postharvest quality assessment in horticultural crops. The journal of Horticultural Science and Biotechnology, 100(5), 628-636. https://doi/10.1080/14620316.2025.2498874
62. Ong, P., Tung, I.-C., Chiu, C.-F., Tsai, I.-J., Shih, H.-C., & Chen, S.H. (2022). Determination of aflatoxin B level in rice (Oryza sativa L.) through near‑infrared spectroscopy and an improved simulated annealing variable selection method. Food Control, 136, 108886. https://doi.org/10.1016/j.foodcont.2022.108886
63. Owino, W. O., Lanoi, D., Imathiu, S., Kahenya, P., Nyonje, W. A. &Yegon, D. (2024). Near-infrared spectrometry for rapid and real-time prediction of specific quality attributes in intact cactus pear fruits (Opuntia ficus-indica L.). Front. Hortic. 3:1457362. 10.3389/fhort.2024.1457362 

64. Pan, L., Lu, R., Zhu, Q., McGrath, J. M., & Tu, K. (2015). Measurement of moisture, soluble solids, sucrose content and mechanical properties in sugar beet using portable visible and near-infrared spectroscopy. Postharvest Biology and Technology, 102, 42-50.

65. Pandiselvam R, Prithviraj V, Manikantan MR, Kothakota A, Rusu AV, Trif M, Mousavi Khaneghah A. (2022). Recent advancements in NIR spectroscopy for assessing the quality and safety of horticultural products: A comprehensive review. Front Nutr. Oct 12;9:973457. doi: 10.3389/fnut.2022.973457. PMID: 36313102; PMCID: PMC9597448.

66. Paul, R., Sanyal, D., Malik, A., & Sarkar, T. (2024). Emerging postharvest technologies to enhance the shelf-life of horticultural crops: An overview. International Journal of Advanced Biochemistry Research, 8(4), 49-54. https://doi.org/10.33545/26174693.2024.v8.i4a.907
67. Peirs, A. et al. (2002). Comparison of Fourier transform and dispersive near-infrared reflectance spectroscopy for apple measurements. Biosystems Engineering.

68. Pérez-Marín, D., Torres, I., Entrenas, J.-A., Vega, M., & Sánchez, M.-T. (2019). Pre-harvest screening on-vine of spinach quality and safety using NIRS technology. Spectrochimica Acta Part A: Molecular and Biomolecular Spectroscopy, 207, 242–250. https://doi.org/10.1016/j.saa.2018.09.035

69. Phindile, F. N., Lembe, S. M., Samson, Z. T.,&Rebogile, R. M. (2022). Destructive and rapid non-invasive methods used to detect adulteration of dried powdered horticultural products: A review, Food Research International, vol 157, 111198, 0963-9969, https://doi.org/10.1016/j.foodres.2022.111198
70. Praiphui, A., Lopin, K. V., & Kielar, F. (2023). Construction and evaluation of a low cost NIR-spectrometer for the determination of mango quality parameters. Journal of Food Measurement and Characterization, 17(4), 4125-4139.

71. Prasad, K., Jacob, S., & Siddiqui, M. W. (2018). Fruit maturity, harvesting, and quality standards. In Preharvest modulation of postharvest fruit and vegetable quality (pp. 41-69). Academic Press.

72. Prempeh, N. Y. A., Nunekpeku, X., Kutsanedzie, F. Y. H., Murugesan, A., & Li, H. (2025). A Comprehensive Review of Non-Destructive Monitoring of Food Freshness and Safety Using NIR Spectroscopy and Biosensors: Challenges and Opportunities. Chemosensors, 13(11), 393. https://doi.org/10.3390/chemosensors13110393
73. Rawal, A., Hartemink, A., Zhangg, Y., Wang, Y. &Ruark, M. (2024). Visible-near infrared spectroscopy for predicting leaf nitrogen content under different management conditions. Precision Agriculture, 25, 751-770. https://doi.org/10.1007/s11119-023-10091-z
74. Ren, W., Jiang, Q. & Qi, W. (2025). Research progress in near-infrared spectroscopy for detecting the quality of potato crops. Chem. Biol. Technol.Agric. 12, 32. https://doi/10.1186/s40538-025-00747-5
75. Saechua, S. et al. (2023). Total soluble solids, dry matter content prediction and maturity stage classification of durian fruit using long-wavelength NIR reflectance. Journal of Food Composition and Analysis, 124, 105667. https://doi.org/10.1016/j.jfca.2023.105667

76. Salehin, M. M., Rafe, M. R. I., Rahman, K. S., Islam, M. R., Ahamed, S., & Rahman, A. (2025). Prediction of sugar content in Java plum using SW-NIR spectroscopy with CNN-LSTM-based hybrid deep learning model. Measurement: Food, 100246. https://doi.org/10.1016/j.meafoo.2025.100246
77. Shanthini, K. S., Francis, J., George, S. N., George, S., &Devassy, B. M. (2025). Early bruise detection, classification and prediction in strawberry using Vis–NIR hyperspectral imaging. Food Control, 167, 110794. https://doi.org/10.1016/j.foodcont.2024.110794
78. Shewfelt, R. L. (2014). Measuring quality and maturity. In Postharvest handling (pp. 387-410). Academic Press.
79. Sriti, N., Sargent, S., Deng, Z., Williamson, J., & Liu, G. (2025). Postharvest quality and shelf life of three thornless blackberry cultivars over two seasons.Horticulturae, 11(9), 1071. https://doi.org/10.3390/horticulturae11091071
80. Téllez-García, J., Sánchez, M. T., González-Fernández, J. J., & Pérez-Marín, D. (2025). Evaluation of NIRS portable sensors for the determination of the physicochemical quality and maturity of intact mangoes. Scientia Horticulturae, 354, 114514.

81. Titeli, V. S., Michailidis, M., Tanou, G., & Molassiotis, A. (2023). Physiological and metabolic traits linked to kiwifruit quality. Horticulturae, 9(8), 915.

82. Vallone, M., Alleria, M., Bonob, F., &Cataniaa, P. (2019). Use of a Portable vis Nir Device to Predict Table Olives Quality. Chemical Engineering Transactions, 76: 79-84. DOI: 10.3303/CET1975014

83. Walsh, K. B., Golic, M., & Greensill, C. V. (2004). Sorting of fruit using near infrared spectroscopy: application to a range of fruit and vegetables for soluble solids and dry matter content. Journal of Near Infrared Spectroscopy, 12(3), 141-148.
84. Wang, Y., Sun, J., Wu, Z., Jia, Y., & Dai, C. (2025). Application of non-destructive technology in plant disease detection: A review.Agriculture, 15(15), 1670. https://doi.org/10.3390/agriculture15151670
85. Xu, S., Wang, H., Liang, X., & Lu, H. (2024). Research progress on methods for improving the stability of non-destructive testing of agricultural product quality. Foods, 13(23), 3917.

86. Zahir, S. A. D. M., Jamlos, M. F., Omar, A. F., Jamlos, M. A., Mamat, R., Muncan, J. &Tsenkova, R. (2024). Review-Plant nutritional status analysis employing visible and near-infrared spectroscopy spectral sensor. Spectrochimica Acta Part A: Molecular and Biomolecular Spectroscopy, 304, 123273. https://doi.org/10.1016/j.saa.2023.123273
87. Zhao, Z.,Qiu, J., Liu, X., Chen, M., Cao, W., Chang, S. & Zhao, X. (2025). Combining VNIR and NIR hyperspectral imaging techniques with a data fusion strategy for the determination of fat content, acid value, and storage time of walnuts.Spectrochimica Acta Part A: Molecular and Biomolecular Spectroscopy, 343, 126355. https://doi.org/10.1016/j.saa.2025.126355
88. Zhu, H., Lin, C., Liu, G., Wang, D., Qin, S., Li, A., Xu, J.-L., & He, Y. (2024). Intelligent agriculture: Deep learning in UAV-based remote sensing imagery for crop diseases and pests’ detection. Frontiers in Plant Science, 15, 1435016. https://doi.org/10.3389/fpls.2024.1435016
89. Zude, M., Herold, B., Roger, J. M., Bellon-Maurel, V., & Landahl, S. (2006). Non-destructive tests on the prediction of apple fruit flesh firmness and soluble solids content on tree and in shelf life. Journal of food engineering, 77(2), 254-260.

